## Requirements
FEBRUARY 1, 2023, ANNUAL REPORT
1) A summary of the sewage spills that occurred within each municipality during such year
See CSO SUMMARY tab and SSO SUMMARY tab. For more detailed information, see the individual town tabs in the "2023 SSO Event Report " and "2023 CSO Event Report" spread sheets for more information
2) A summary of sewage spills that reached named or identified water bodies
See REACHED WATER SUMMARY tab with back up on SSO SUMMARY tab and CSO SUMMARY tab
3) A summary of the total volume of each category of sewage spill
See SSO SUMMARY tab and CSO SUMMERY tab
4) Any enforcement actions taken by the department related to such sewage spills.
No specific enforcement regarding the attached reports has been taken. Some enforcement may be present in other enforcement actions taken, such as CMOM enforcement. See the annual report overview for additional information
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.
· Private Property bypasses that are reported are shown on the indivdual town tabs but are not counted in the overall data presented

## CSO SUMMARY
This is a summary of the combined sewer overflow data showing approximate number of events and gallons.
UTILITY | TOTAL DAYS OF OVERFLOW | TOTAL # of REPORTS | TOTAL ESTIMATED FLOW IN GALLONS | Ash Creek Events | Ash Creek Volume (Gallons) | Black Rock Harbor Events | Black Rock Harbor Volume (Gallons) | Bridgeport Harbor Events | Bridgeport Harbor Volume (Gallons) | Burr Creek Events | Burr Creek Volume (Gallons) | Cedar Creek Events | Cedar Creek Volume (Gallons) | CT River Events | CT River Volume (Gallons) | Island Brook Events | Island Brook Volume (Gallons) | Johnson's Creek Events | Johnson's Creek Volume (Gallons) | Mill River Events | Mill River Volume (Gallons) | New Haven Harbor Events | New Haven Harbor Volume (Gallons) | North Branch Park River & Conduit Events | North Branch Park River & Conduit Volume (Gallons) | Park River Auxillary Conduit Events | Park River Auxillary Conduit Volume (Gallons) | Park River Conduit Events | Park River Conduit Volume (Gallons) | Pequonnock River Events | Pequonnock River Volume (Gallons) | Quinnipiac River Events | Quinnipiac River Volume (Gallons) | Shetucket Events | Shetucket Volume (Gallons) | South Branch Park River Events | South Branch Park River Volume (Gallons) | Thames River Events | Thames River Volume (Gallons) | West River Events | West River Volume (Gallons) | Yellow Mill Pond Events | Yellow Mill Pond Volume (Gallons)
Bridgeport East | 5 | 15 | 5810000 | [14 empty] | 1 | 720000 | [22 empty] | 14 | 5090000
Bridgeport West | 16 | 120 | 75840000 | 10 | 6800000 | 4 | 3100000 | 2 | 310000 | 18 | 18050000 | 3 | 5660000 |  |  | 4 | 1090000 | [12 empty] | 79 | 40830000
GNHWPCA | 57 | 218 | 40881062 | [16 empty] | 54 | 7401769 | 55 | 9937454 | [8 empty] | 55 | 22714026 | [6 empty] | 54 | 827813
MDC | 89 | 60 | 532343000 | [10 empty] | 16 | 225537000 | [8 empty] | 7 | 41671000 | 10 | 67757000 | 24 | 178945000 | [6 empty] | 2 | 18433000
Norwich |  | 320 | 81202902 | [30 empty] | 238 | 79801188 |  |  | 83 | 1401714
SUMMARY | 167 | 733 | 736076964 | 10 | 6800000 | 4 | 3100000 | 2 | 310000 | 18 | 18050000 | 3 | 5660000 | 16 | 225537000 | 4 | 1090000 | 1 | 720000 | 54 | 7401769 | 55 | 9937454 | 7 | 41671000 | 10 | 67757000 | 24 | 178945000 | 79 | 40830000 | 55 | 22714026 | 238 | 79801188 | 2 | 18433000 | 83 | 1401714 | 54 | 827813 | 14 | 5090000
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.

## SSO SUMMARY
The first two sections count the number of events and volume amounts for each type of Sanitary Sewer Overflow (SSO) for each municipality and in total | [29 empty] | This secion keeps track of the approximate gallons spilled from SSOs by municipality - a combined total of CSOs and SSOs is on the Reached Water Summary Tab
Municipality | # of SSO Events | # of NPDES Permitted Bypasses | # ot TOTAL EVENTS | All Events Total Estimated Gallons | # Reached Water | # Excessive Flows - Storm Event | Volume (gallons) Excessive Flows - Storm Event | # Excessive Flows - Snow Melt | Volume (gallons) Excessive Flows - Snow Melt | # Electrical Equipment Failure | Volume (gallons) Eletrical Equipt Failure | # Mechanical Equipment Failure | Volume (gallons) Mech Equipt Failure | # Other - Sewer Break | Volume (gallons) Other - Sewer Break | # Other - Contractor Damaged Sewer | Volume (gallons) Other - Sewer Break | # Other - Water Main Break | Volume (gallons) Other - Water Main Break | # Sewer Line Blockage - Grease | Volume (gallons) Line Blockage - Grease | # Sewer Line Blockage - Rags | Volume (gallons) Line Blockage - Rags | # Sewer Line Blockage - Roots | Volume (gallons) Line Blockage - Roots | # Sewer Line Blockage - Other | Volume (gallons) Link Bolckage - Other | # Unknown Cause | Volume (gallons) Unknown Cause | Unnamed Waterbody (gallons) | Avery Brook (gallons) | Bantam River (gallons) | Bridgeport Harbor / LIS (gallons) | Bruce Pond (gallons) | Byram River (gallons) | Cedar Creek / LIS (gallons) | Connecticut River (gallons) | East Mountain Brook / Hallock Brook (gallons) | East Swamp Brook (gallons) | Farmington River (gallons) | Five Mile Pond (gallons) | Fort Hill Brook (gallons) | Goodwives River (gallons) | Great Swamp (gallons) | Highland Lake (gallons) | Hockanum River (gallons) | Housatonic River (gallons) | Island Brook (gallons) | Lake Forest (gallons) | Little River (gallons) | Long Island Sound (gallons) | Mad River (gallons) | Moosup River (gallons) | Naugatuck River (gallons) | New Haven Harbor (gallons) | Old Field Creek (gallons) | Oyster River (gallons) | Park River (incl N, S & Conduit) (gallons) | Pequonnock River (gallons) | Piper Brook (gallons) | Quinnipiac River (gallons) | Rooster River (gallons) | Salmon Brook (gallons) | Shetucket River (gallons) | Steele Brook (gallons) | Stillmans Pond (gallons) | Success Lake (gallons) | Thames River (gallons) | Trout Brook (gallons) | West River (gallons) | Willimantic (gallons)
Beacon Falls | 2 | 0 | 2 | 53300 | 1 | 1 | 50000 | [20 empty] | 1 | 3300 | [24 empty] | 50000
Branford | 3 | 0 | 3 | 2500 | 0 | [16 empty] | 3 | 2500 |  |  | 0 | [12 empty] | 50
Bloomfield (MDC) | 1 | 0 | 1 | 95 | 0 | [22 empty] | 1 | 95
Bridgeport (East & West) | 24 | 21 | 45 | 67704030 | 26 | 22 | 67693100 | [12 empty] | 13 | 2950 | 2 | 550 |  |  | 8 | 7430 | [5 empty] | 6508100 | 450 |  | 61185000 | [22 empty] | 6825 | [6 empty] | 350 | 1500
Bristol | 5 | 0 | 5 | 1955 | 0 | [14 empty] | 1 | 85 | 1 | 85 | 2 | 935 | 1 | 850
Cheshire | 2 | 0 | 2 | 1400 | 0 | [14 empty] | 2 | 1400 | [8 empty] | 700
Cromwell (Mattabassett) | 1 | 0 | 1 | 2433645 | 1 | 1 | 2433645 | [29 empty] | 2433645
Danbury | 5 | 0 | 5 | 1950 | 0 | [14 empty] | 2 | 350 |  |  | 2 | 1500 | 1 | 100
Darien | 5 | 0 | 5 | 10150 | 3 |  |  |  |  | 1 | 5525 |  |  |  |  | 1 | 4500 |  |  | 1 | 15 | 1 | 100 | 1 | 10 | [17 empty] | 15 | [7 empty] | 10025
East Hartford (MDC) | 2 | 0 | 2 | 1070 | 1 | [6 empty] | 1 | 975 | [12 empty] | 1 | 95 | [9 empty] | 975
East Haven (GNHWPCA) | 1 | 0 | 1 | 50 | 0 | [14 empty] | 1 | 50
East Lyme | 2 |  | 2 | 570 | 1 | [6 empty] | 1 | 300 |  |  | 1 | 270
East Windsor | 2 | 0 | 2 | 475 | 0 | [16 empty] | 1 | 450 |  |  |  |  | 1 | 25
Fairfield | 7 | 0 | 7 | 6750 | 1 | [14 empty] | 3 | 2200 | 3 | 550 |  |  | 1 | 4000 | [34 empty] | 4000
Glastonbury | 2 | 0 | 2 | 2850 | 1 | [14 empty] | 1 | 2700 | 1 | 150 | [39 empty] | 2700
Greenwich | 1 | 0 | 1 | 23000 | 1 | [8 empty] | 1 | 23000 | [19 empty] | 23000
Groton (City, Town & USN) | 17 | 0 | 17 | 1126508 | 5 | [6 empty] | 2 | 1102600 | 4 | 8606 |  |  |  |  | 6 | 15179 | 2 | 18 |  |  | 2 | 100 | 1 | 5 | 8500 | [11 empty] | 1100000 | [25 empty] | 16
Hamden (GNHWPCA) | 4 | 0 | 4 | 581 | 0 | [14 empty] | 3 | 536 |  |  | 1 | 45
Hartford (MDC) | 10 | 0 | 10 | 54685 | 5 |  |  | 1 | 20000 |  |  | 1 | 10 | 1 | 25200 | 1 | 7000 | 1 | 2000 | 2 | 190 | [6 empty] | 3 | 285 | 95 | [6 empty] | 95 | [20 empty] | 29000
Killingly | 4 |  | 4 | 700 | 1 | [6 empty] | 1 | 0 | [8 empty] | 3 | 700 | [17 empty] | 250
Litchfield | 4 | 0 | 4 | 156455 | 2 |  |  |  |  | 2 | 5 | 2 | 156450 | [18 empty] | 156450
Manchester | 2 | 0 | 2 | 300 | 0 |  |  |  |  | 1 | 100 | [16 empty] | 1 | 200
Mansfield (UCONN) | 2 | 0 | 2 | 9100 | 0 | [8 empty] | 2 | 9100
Meriden | 1 | 0 | 1 | 95 | 1 | [18 empty] | 1 | 95 | [35 empty] | 95
Middletown | 1 | 0 | 1 | 2000 | 0 | [10 empty] | 1 | 2000
Milford | 5 | 0 | 5 | 4700 | 0 | [18 empty] | 1 | 100 | 3 | 4550 | 1 | 50
Montville | 3 | 0 | 3 | 1500 | 0 | [6 empty] | 2 | 1000 | 1 | 500
Naugatuck | 2 | 0 | 2 | 190 | 0 | [8 empty] | 1 | 95 | [6 empty] | 1 | 95
New Hartford | 1 | 0 | 1 | 360 | 1 | [16 empty] | 1 | 360 | [14 empty] | 360
New Haven (GNHWPCA) | 12 | 49 | 61 | 132690928 | 50 | 50 | 132689400 |  |  |  |  | 1 | 40 | [6 empty] | 4 | 164 | 1 | 95 | 2 | 213 |  |  | 3 | 1016 | [25 empty] | 132689100 | [5 empty] | 40
New London | 1 | 0 | 1 | 45 | 0 | [18 empty] | 1 | 45
New Milford | 2 | 0 | 2 | 193 | 1 | [14 empty] | 1 | 90 |  |  | 1 | 103 | [21 empty] | 90
Newington (MDC) | 4 | 0 | 4 | 1349190 | 2 | 2 | 1349000 |  |  |  |  | 1 | 95 | [14 empty] | 1 | 95 | [30 empty] | 1349000
Norfolk | 1 | 0 | 1 | 100000 | 0 | [22 empty] | 1 | 100000
Norwalk | 14 | 0 | 14 | 2895 | 2 | [14 empty] | 1 | 25 | 2 | 1550 | 1 | 9 | 2 | 90 | 8 | 1221 | 45 | [20 empty] | 100
Norwich | 8 | 0 | 8 | 25818 | 4 |  |  |  |  | 1 | 18630 | 3 | 3788 | [8 empty] | 3 | 1600 |  |  |  |  | 1 | 1800 | [34 empty] | 1800 |  |  |  | 22417
Orange | 1 | 0 | 1 | 300 | 0 | [8 empty] | 1 | 300
Plainfield | 2 | 0 | 2 | 151800 | 1 | [6 empty] | 1 | 150000 |  |  |  |  | 1 | 1800 | [33 empty] | 1800
Plymouth | 2 | 0 | 2 | 640 | 1 | [8 empty] | 1 | 190 | [10 empty] | 1 | 450 |  |  | 450
Putnam | 1 | 0 | 1 | 100 | 0 | [8 empty] | 1 | 100
Ridgefield | 5 | 0 | 5 | 585 | 2 |  |  |  |  | 2 | 180 | 1 | 25 | [6 empty] | 2 | 380 | [22 empty] | 180
Seymour | 4 | 0 | 4 | 16330 | 1 | [8 empty] | 1 | 15800 | [6 empty] | 1 | 30 | 2 | 500 | [24 empty] | 15800
Shelton | 2 | 0 | 2 | 45 | 0 | [6 empty] | 1 | 25 | 1 | 20
Simsbury | 4 | 0 | 4 | 500 | 1 | [18 empty] | 3 | 400 |  |  | 1 | 100 | [10 empty] | 100
South Windsor | 7 | 0 | 7 | 338544 | 7 |  |  |  |  | 4 | 322944 | [10 empty] | 2 | 10700 |  |  |  |  | 1 | 4900 |  | 10700 | [5 empty] | 327844
Southington | 3 | 0 | 3 | 540 | 0 | [14 empty] | 2 | 90 |  |  | 1 | 450
Stafford | 1 | 0 | 1 | 13500 | 1 |  |  |  |  | 1 | 13500 | [59 empty] | 13500
Stamford | 9 | 0 | 9 | 541 | 2 |  |  |  |  | 1 | 5 | [8 empty] | 2 | 160 |  |  |  |  | 4 | 311 | 2 | 65 | [21 empty] | 260
Stratford | 4 | 0 | 4 | 1867000 | 4 | 1 | 1125000 |  |  | 1 | 250000 | [16 empty] | 2 | 492000 | [17 empty] | 1867000
Suffield | 1 | 0 | 1 | 420 | 0 | [10 empty] | 1 | 420
Trumbull | 7 | 0 | 7 | 820095 | 5 | [8 empty] | 6 | 812095 | 1 | 8000 | [12 empty] | 8000 | [17 empty] | 10000 | 5000 | [9 empty] | 788000
Vernon | 5 | 0 | 5 | 142606 | 4 | [6 empty] | 1 | 127106 | 1 | 10000 | [12 empty] | 3 | 5500 | [16 empty] | 142556
Waterbury | 10 | 0 | 10 | 803230 | 3 | 1 | 800000 | [12 empty] | 1 | 2000 | 2 | 625 | 2 | 230 | 4 | 375 | [24 empty] | 400 |  | 800000 | [10 empty] | 150
West Haven | 19 | 0 | 19 | 20008615 | 11 | 3 | 20002000 |  |  | 3 | 210 | 5 | 6165 | [6 empty] | 2 | 18 | 2 | 30 | 1 | 20 | 2 | 170 | 1 | 2 | [25 empty] | 20006122 | 100 | 1150 | [12 empty] | 1000
West Hartford (MDC) | 18 | 0 | 18 | 16919194 | 8 | 10 | 16916995 | [6 empty] | 1 | 0 | 1 | 950 |  |  | 2 | 14 | 1 | 950 | 2 | 190 |  |  | 1 | 95 | [30 empty] | 4270000 | [8 empty] | 3243950
Westport | 3 | 0 | 3 | 2500 | 0 | [8 empty] | 2 | 1500 | [10 empty] | 1 | 1000
Windham | 1 | 0 | 1 | 45 | 0 | [16 empty] | 1 | 45
Winsted | 1 | 0 | 1 | 500 | 1 | [10 empty] | 1 | 500 | [27 empty] | 500
SUMMARY | 273 | 70 | 343 | 246857663 | 162 | 91 | 243059140 | 1 | 20000 | 17 | 611099 | 24 | 1548579 | 25 | 906506 | 8 | 23640 | 2 | 3800 | 52 | 28596 | 34 | 21183 | 24 | 4845 | 31 | 19521 | 34 | 610754 | 17790 | 10700 | 156450 | 6508100 | 450 | 23000 | 61185000 | 2762559 | 360 | 50 | 100 | 250 | 1100000 | 15 | 180 | 500 | 142556 | 1867090 | 10000 | 5000 | 15800 | 10385 | 400 | 1800 | 850000 | 152695222 | 100 | 1150 | 29000 | 794825 | 5619000 | 135 | 4000 | 2700 | 1800 | 150 | 350 | 1500 | 22433 | 3243950 | 1000 | 13500
[6 empty] | 343 | 246857663
[30 empty] | TOTAL REACHED WATER: |  | 237099350
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.

## REACHED WATER SUMMARY
This secion keeps track of the approximate gallons spilled from SSOs by municipality - a combined total of CSOs and SSOs is on the Reached Water Summary Tab
Municipality | Unnamed Waterbody (gallons) | Ash Creek (gallons) | Avery Brook (gallons) | Bantam River (gallons) | Black Rock Harbor (gallons) | Bridgeport Harbor / LIS (gallons) | Bruce Pond (gallons) | Burr Creek (gallons) | Byram River (gallons) | Cedar Creek / LIS (gallons) | Connecticut River (gallons) | East Mountain Brook / Hallock Brook (gallons) | East Swamp Brook (gallons) | Farmington River (gallons) | Five Mile Pond (gallons) | Fort Hill Brook (gallons) | Goodwives River (gallons) | Great Swamp (gallons) | Highland Lake (gallons) | Hockanum River (gallons) | Housatonic River (gallons) | Island Brook (gallons) | Johnson's Creek (gallons) | Lake Forest (gallons) | Little River (gallons) | Long Island Sound (gallons) | Mad River (gallons) | Mill Rover (gallons) | Moosup River (gallons) | Naugatuck River (gallons) | New Haven Harbor (gallons) | Old Field Creek (gallons) | Oyster River (gallons) | Park River (incl N, S & Conduit) (gallons) | Pequonnock River (gallons) | Piper Brook (gallons) | Quinnipiac River (gallons) | Rooster River (gallons) | Salmon Brook (gallons) | Shetucket River (gallons) | Steele Brook (gallons) | Stillmans Pond (gallons) | Success Lake (gallons) | Thames River (gallons) | Trout Brook (gallons) | West River (gallons) | Willimantic (gallons) | Yellow Mill Pond (gallons)
Beacon Falls | [29 empty] | 50000
Branford | [12 empty] | 50
Bloomfield (MDC)
Bridgeport (East & West) |  | 6800000 |  |  | 3100000 | 6818100 | 450 | 18050000 |  | 66845000 | [11 empty] | 1090000 | 720000 | [11 empty] | 40836825 | [6 empty] | 350 | 1500 |  |  |  |  | 5090000
Bristol
Cheshire | 700
Cromwell (Mattabassett) | [10 empty] | 2433645
Danbury
Darien | [16 empty] | 15 | [8 empty] | 10025
East Hartford (MDC) | [10 empty] | 975
East Haven (GNHWPCA)
East Lyme
East Windsor
Fairfield | [37 empty] | 4000
Glastonbury | [38 empty] | 2700
Greenwich | [8 empty] | 23000
Groton (City, Town & USN) | 8500 | [14 empty] | 1100000 | [27 empty] | 16
Hamden (GNHWPCA)
Hartford (MDC) | 95 | [9 empty] | 225537095 | [22 empty] | 306835000
Killingly | [14 empty] | 250
Litchfield |  |  |  | 156450
Manchester
Mansfield (UCONN)
Meriden | [36 empty] | 95
Middletown
Milford
Montville
Naugatuck
New Hartford | [11 empty] | 360
New Haven (GNHWPCA) | [27 empty] | 7401769 |  |  | 142626554 | [5 empty] | 22714066 | [8 empty] | 827813
New London
New Milford | [20 empty] | 90
Newington (MDC) | [35 empty] | 1349000
Norfolk
Norwalk | 45 | [24 empty] | 100
Norwich | [39 empty] | 79802988 |  |  |  | 1424131
Orange
Plainfield | [28 empty] | 1800
Plymouth | 450
Putnam
Ridgefield | [17 empty] | 180
Seymour | [24 empty] | 15800
Shelton
Simsbury | [13 empty] | 100
South Windsor |  |  | 10700 | [7 empty] | 327844
Southington
Stafford | [46 empty] | 13500
Stamford | [25 empty] | 260
Stratford | [20 empty] | 1867000
Suffield
Trumbull | 8000 | [20 empty] | 10000 |  | 5000 | [10 empty] | 788000
Vernon | [19 empty] | 142556
Waterbury | [26 empty] | 400 |  |  | 800000 | [10 empty] | 150
West Haven | [30 empty] | 20006122 | 100 | 1150 | [12 empty] | 1000
West Hartford (MDC) | [35 empty] | 4270000 | [8 empty] | 3243950
Westport
Windham
Winsted | [18 empty] | 500
SUMMARY | 17790 | 6800000 | 10700 | 156450 | 3100000 | 6818100 | 450 | 18050000 | 23000 | 66845000 | 228299559 | 360 | 50 | 100 | 250 | 1100000 | 15 | 180 | 500 | 142556 | 1867090 | 1100000 | 720000 | 5000 | 15800 | 10385 | 400 | 7401769 | 1800 | 850000 | 162632676 | 100 | 1150 | 306835000 | 41624825 | 5619000 | 22714161 | 4000 | 2700 | 79802988 | 150 | 350 | 1500 | 1424147 | 3243950 | 828813 | 13500 | 5090000
| TOTAL REACHED WATER: |  |  | 973176314
Data Caveats
While DEEP is the storehouse for the SRTK data, DEEP makes the following caveats:
· All data is submitted by publicly owned wastewater treatment plants and publicly owned satellite collection systems.
· DEEP does not issue notifications about individual discharges, they are inputted by the reporters for each municipality and issued by the electronic system automatically.
· The reports are being submitted by the municipalities in a short time frame after discovery of a discharge and specific details may not be known.
· Data is estimated based on the existing systems, models, and personal knowledge of the sewer systems by the reporters.
· Data quality, especially volumes, is not checked by DEEP.
· The electronic program allows for zero duration, short durations and zero quantities for volumes.
· Addresses may not be entered by municipalities in a way that allows the parts of the address to be separated nor with an exact location.
· Multiple notifications may be sent for the same discharge since municipalities need to submit daily and termination reports for ongoing discharges.
· Duplicate reports and reports submitted that resulted in zero flow may be rescinded in the system.